Error and its Propagation
For Phys274L
Shige Matsuno
This is a digest version of “An Introduction to Error
Analysis, 2nd Ed.” (mostly part I) by John Taylor + α
- Taylor series and approximation
- Error basics – various errors, statistical values, etc.
- Significant figures and error
- Error propagation
last modified on 3-Sep-2014

---
Taylor expansion (series) and approximations
- Taylor series: expanding a differentiable function to a polynomial
  - if ≪ 1, higher n terms become negligible
- using this relation, some functions are often approximated
  - sin, cos, (1+x)n are the good examples
  - can estimate usable range with a given accuracy in this approximation.
f(x) ~=~ f(a) ~+~ sum from {n=1} {{f^{(n)} (a)} over {n!}} ~ (x`-`a)^n
(x`-` a)
sin  ~  while

---
Sample approximation
sin %theta `=` sin a +` cos a cdot (%theta - a) -` {sin a} over {alignc 2} cdot {(%theta - a)^2 } -` {cos a} over {alignc 6} cdot {(%theta - a)^3} +` dotslow newline ~~~~~=~ %theta `-` {`%theta^3} over {`6} `+` {~%theta^5} over {120} `-` dotslow ~sim~ %theta ~~~~ (for ~ a`=`0, ~ %theta`<`1)
range of θ for fixed accuracies can be evaluated by θ2/6
accuracy	0.1%	1%	10%
θ (rad)	0.08	0.24	0.77
"Other ex amples : "~ cos %theta ~sim~ 1 `-` {alignc %theta^2} over {alignc 2} ~, ~~ (1 +- x)^n ~sim~ 1 `+-` n` x
Sinusoidal approx. are often used in diffraction calculations

---
Error (= uncertainty) basics
- Any measurement is associated with an error, however carefully it is done.
  - can't measure 10 μm accuracy with a normal ruler
  - σx , δx, δx , etc. are used to express them
- In a scientific report, errors have to be properly evaluated, propagated, and presented
  - if you don't have an error on your result, it is not right.
- “value ± error” is a typical way to present a result with an error
  - in scientific notation (1.23 ± 0.04) x 105 is preferred, not 1.23 x 105 ± 4 x 103.

---
Error and Gaussian
If a measurement with a fixed uncertainty is repeated multiple times, the results should follow a Gaussian curve.
↑ “Central Limit Theorem”
alignl "Gaussian (normal) function" newline ~ = ` {1 over { %sigma_{x} cdot sqrt { 2 %pi } } } ~ bold exp left ( - {{(x - "<"x">")^2} over { 2 %sigma_{x}^2 } } right) ` newline alignc {` "<"x">" " ; average value"} newline %sigma_x " ; uncertainty"
Gaussian distribution with
<x>=0, σ=1 using root

---
Error and Gaussian II
- Probability of one measurement falls outside of ±1σ is ~32% (within ±1σ is ~68%)
  - ±2σ ~ 4.6%, ±3σ ~ 0.27%, ±4σ ~ 0.006%, ...
- If your result deviates from the expected value more than 3σ, you have to look for reasons and discuss them in your report.
- A new finding usually can't be claimed until one reach to 5σ level (prob.~ 0.00000057)
  - we tend to underestimate or overlook errors

---
Validity of a measurement
- There is no simple “yes/no” answer for this question
- “n = (xobserved– xexpected )/uncertainty” is what needs to be evaluated and describe that the result is “nσ away from the expected value”
  - remember within ±1σ is 68%, ±2σ is 95%, ±3σ is 99.7%, in a Gaussian distribution
  - your answer is probabilistic, like QM
- Too good is not good, either.
  - probability of having a result within ±0.01σ is 0.4%

---
Often used statistical values
"Average or Mean ; " "<" x ">" ~ = ~ bar x ~ = ~ {alignc 1} over N ` sum from{i=o} to{N-1} ` x_{i} newline "Standerd deviation (SD or sigma) ;" newline ~~~~ %sigma_{x} ^{2} ~ = ~ {alignc 1} over {N-1} ~ sum from{i} ( x_{i} - "<"x">" ) ^ {2} newline ~~~~~~~~ = ~ {alignc 1} over {N-1} sum from{i} x_{i}^{2} ~ - ~ {alignc 2"<" x ">"} over {N-1} sum from{i} x_{i} ~ + ~ {alignc 1 } over {N-1} sum from{i} "<"x">"^2 newline ~~~~~~~~ sim ~ "<" x^2 ">" ~ - ~ "<" x ">" ^2 ~~ (~for N >> 1 ~) newline "SD of mean ; " %sigma_{"<" x ">"} `=` { alignc %sigma_{x}} over sqrt{N} " ; (discussed in propagation section)"
Spread sheet programs (excel, localc, numbers, etc.) have
these as built-in functions, so use them.

---
Multiple measurements
- when it is difficult to properly asses a measurement error (Electron diffraction, for example), multiple measurements is a good method to try.
  - based on the “Central limit theorem” in page-5
  - repeat ~5 measurements or more
  - use an average as a result
  - calculate SD and use SD / as a resulting error
- All the measurements has to be independent.
  - it's beneficial to use a caliper (or something), which gives less bias in reading.
  - do not thrown away data with a large deviation.
sqrt {n}

---
Spreadsheet sample
	A	B	C	D
1	V (V)	2500	3000	3500
2		30.0	27.9	25.8
3	Inner Ring	30.6	28.3	27.6
4	Diameters	32.4	28.9	26.4
5	(mm)	32.2	28.8	27.1
6		32.9	28.6	25.8
7	V-1/2	0.02000	0.01826	0.01690
8	average	31.620	28.500	26.540
9	s.d.	1.250	0.406	0.799
10	n	5.000	5.000	5.000
11	s.d./ √n	0.559	0.182	0.357
Sample data taken from
Electron diffraction lab
   (will be asked to plot ring diameter against 1/V1/2 )
= 1/SQRT(B1)
= AVERAGE(B2:B6)
functions
used on
column B
= STDEV(B2:B6)
= COUNT(B2:B6))
= B9/SQRT(B10)
You can set up one column and copy them to the next ones.

---
How to read a gauge with error
- The following guide line applies for reading ANALOG gauges.
- When the gauge ticks are widely separated
  - read down to 1/10 of the tick spacing and assign 1/10 as an error.
- When the gauge ticks are fine
  - read to accuracy you reliably can and assign a half of the interval as an error
    ex. you think you can read 0.5mm accuracy while reading a ruler with mm ticks, assign 0.25mm as an error.

---
Samples to read gauges with error
what are the errors associated with a measurement of the length of bar A in figure-1 and 2.
A
A
fig-1 : ±0.1
fig-2 : depends on how accurately you can read. 0.05 → ±0.025 0.02 → ±0.01
0
0
figure-1
figure-2
1.0
2.0
3.0
4.0
1.0
2.0
3.0
4.0

---
Significant figures (digits)
- significant figures of a result should not exceed that of data, from which it's derived
  - accuracy of the result can't be better than that of the data it's based on ← basic principle
  - don't worry too much about it in a calculation process, to avoid accumulating rounding errors
- To avoid an ambiguity, it's a good idea to present results in scientific notation
  - 1.00 x 103 m, instead of 1000 m.
    (underline or overline is often used to indicate significant figures. like 1000 m, but not preferred)

---
Significant figures II
- when a result is written with an error, their significant figures should be treated properly.
  - 7.50 ± 0.02235 cm, does not make any sense
  - 7.4987 ± 0.02 cm, too many significant figures compared to uncertainty
- one (or two at most) significant digits in the error and the matched digits (or one above, if error is large in that digit) in the result
  - 7.50 ± 0.02 cm is proper representation (a large error sample is 7.5 ± 0.07)
  - use of this rule satisfies the original rule in the previous page automatically.

---
Sample question
Q) In the World Championship of track and field in
2009, Usain Bolt of Jamaica won a gold medal in
men's 100.0m dash with a current world record of
9.58 sec. What is his average speed in this event.
 100.0/9.58 = 10.43841336 m/sec (with a 10 digit calculator)
Which is the proper answer
   a) 10.4 m/s
   b) 10.43 m/s
   c) 10.44 m/s
   d) 10.438 m/s
← (c) is the one (if the first digit is 1, it should be excluded)

---
Significant figure from an error analysis view point
- His time with an error : 9.58 ± 0.005 sec
- the average speed should be between 100.0 / 9.575 = 10.44386 and 100.0 / 9.585 = 10.43297
- there is an error of ± 0.005 m/s, due to time measurement error
- the proper answer from the error argument is 10.44 ± 0.005 m/s
- with this accuracy, however, a question of “his” average speed is rather ambiguous

---
Relevant errors
- Instrument resolution
  - most frequently encountered error
  - consult the instrument's manual for details
  - sometime it's separated to linearity and absolute errors
real
real
measured
measured
Absolute error
Linearity error (δx ∝ x)

---
More errors
- Digitizing error
  - each digital reading has an error of at least ±0.5 x (digitizing interval) associated
  - consult the manual (sometimes more than 1 and combined with absolute error)
  - when using a digitized number, always ask yourself what the digitizing interval is.
- Statistical error (part II of JRT's book)
  - associate with counting experiments
  - Poisson statistics requires √n error to a counting result of (n)

---
Handling multiple errors
- Dealing with multiple non-correlated errors of a single observed parameter
  (≠ errors of multiple parameters)
  - add relevant errors quadratically
%sigma_X ~ = ~ sqrt{ ` %sigma_1 ^2 ~ + ~ %sigma_2 ^2 ~ + ~ dotslow }

---
Sample of multiple errors
Using a digital volt meter with a linearity error of 0.5%, you get a reading of 12.0 V. What is the error associated with this reading and the proper way to present the result?
error due to the linearity : 12.0 x 0.005 = 0.06 V
error due to digitization : 0.05 V (1/2 of the last digit)
adding them quadratically, total error = 0.08 V
therefore the reading is 12.0 ± 0.08 V

---
Fluke's spec and error
Uncertainty
Absolute error
Digitizing interval
Linearity error
If you read 1.000V in 6.0VDC range on model175, error should be
sqrt { (1.0 times 0.0015 )^2 ` + ` (2 times 0.001)^2} ~=~ 0.0025V ~=~ 2.5mV
(if you add digitizing error separately, the results will be 2.55mV)

---
Figures with errors and fits
χ2 / NDF = 6.50
χ2 / NDF = 63.8
sample fit with linear and quadratic
functions generated by Gnuplot
 another by PAW with exponential fits
(log-lin plot shows exponential as a linear line)
Too good a fit is as bad as a bad fit (see PMT #1 case in right panel)

---
Fitting and χ2 (part II)
- Fitting N data points (ai,di±σdi) with f(x),
- χ2/ndf ≈ 1, if data is not correlated and error estimation / fitting function are proper.
  - χ2/ ndf ≫ 1 ↔ errors are underestimated or an improper fitting function is used
  - χ2/ ndf ≪ 1 ↔ errors are overestimated or data is correlated each other
~~%chi^2 ~ equiv ~ sum from i {{(d_i `-` f(a_i))^2} over {alignc %sigma_{d_i}^2 }} ~ "(normalized sum with weight = " 1/%sigma_{d_i}^2 ")" newline ~~ndf "(number of degrees of freedum)" ~ = ~ N `-` "<# of parameters>" newline ~~~ ("linear / exponetial ; " ndf `=` N `-` 2, ~ "quadratic ; " ndf `=` N `-` 3)

---
Why propagate errors
- A value of interest is not always directly measurable (example: density of solid)
- In such a case, result has to be calculated from measured values which contains errors (density = mass / volume)
- Then, an error of the result has to be determined from error of measured values, which requires an error propagation.

---
Error propagation
- A general error propagation formula is the following, (see Taylor's book for details)
  - values have to be non-correlated, etc.
X = ` f(a,b,dotslow) ~ "with errors" ~ %sigma_a, %sigma_b, dotslow newline "resulting error of X is given by," newline newline %sigma_X ~ = ~ {sqrt { ` left ( {partial f} over {partial a} ` %sigma_a right )^2 + `left ( {partial f} over {partial b} ` %sigma_b right )^2 + ~ dotslow }} newline

---
Partial derivative
- derivative on one variable while other variables are regarded as constants
- some samples are the following (m,n are constants),
"if" f(x,y)`=`mx+ny, ~~ {partial f} over {partial x} = m ~ "and" ~ {partial f} over {partial y} = n newline "if" f(x,y)`=`mxy, ~~~~~~ {partial f} over {partial x} = my ~"and" ~ {partial f} over {partial y} = mx newline "if" f(x,y)`=`mx^{2} + ny^{2} , ~ {partial f} over {partial x} = 2 mx ~ "and" ~ {partial f} over {partial y} = 2 ny

---
A sample of error propagation
"if" X ` = ` f(a,b) ` = ` a over b `, ~ "then" ~ {partial f} over {partial a} ` = ` 1 over b ~ "and" ~ {partial f} over {partial b} ` = ` - a over b^2 newline %sigma_X ~ = ~ sqrt{ ` left ( {1 over b} ` %sigma_a right ) ^2 + ~ left ( - ` {a over b^2} ` %sigma_b right ) ^2 } ~ = ~ X sqrt{ ` left ( %sigma_a over {alignc a} right ) ^2 + ~ left ( %sigma_b over {alignc b} right ) ^2} newline newline %sigma_X over X ~ = ~ sqrt{ ` left ( %sigma_a over {alignc a} right ) ^2 + ~ left ( %sigma_b over {alignc b} right ) ^2} newline newline "So, the fractional error of the result is a quadratic sum of" newline "fractional errors, square rooted."

---
Application of the sample
Q) A sphere of unknown material is measured. Its mass was
75.5 ± 0.7 g and volume was 9.8 ± 0.2 cm3 .
 1) What the resulting density of this sphere is, and
 2) Judging from the density, how likely it is to be Iron whose
density is 7.87 g/cm3 ?
75.5 slash 9.8 ` = ` 7.704 dotslow ~;~ 7.704 cdot sqrt { ( 0.7 slash 75.5 ) ^{2} + ( 0.2 slash 9.8 ) ^{2} } ` = ` 0.172 dotslow newline "answer 1)" ~ 7.704 +- 0.172 ~rightarrow~ 7.7 +- 0.17 g/cm^{3}
answer2) (7.87 – 7.7) / 0.17 = 1.0 The density of the spare in
question is 1.0 σ away from the known density of Iron. Probability
of a measurement value falls beyond 1 σ is 32%, which means
there is chance of a measured value to be in that region once in
every 3 measurements. Therefore, it's likely that this sphere is
made of iron.

---
What happens in averaging?
X ~ = ~ f(a_{i}) ~ = ~ 1 over n sum from i a_{i} `, ~ "then" ~ {partial f} over {partial a_{i}} ~ = ~ 1 over n newline newline %sigma_X ~ = ~ sqrt{ ` sum from i left ( {1 over n} ` %sigma_{a_{i}} right ) ^2 } ~ = ~ 1 over n sqrt{ ` sum from i left ( %sigma_{a_i} right ) ^2 } newline newline ~~ "if the same meqasurement is repeated, " ~ %sigma_{a_i} ` sim ` %sigma_a ~ newline %sigma_X ~ = ~ 1 over n `sqrt{ ` n %sigma_a^2 } ~ = ~ {alignc{%sigma_a}} over sqrt {n} newline newline "So, it comes down to the formula introduced beginning" newline "of this lecture."

---
A little more general sample
if X `= ` a^m cdot ` b^n ~ where ` m <> 0 " and " n <> 0 ` , newline ~~ then ~ {partial f} over {partial a} ` = ` ma^{m-1} cdot ` b^n ~ "and" ~ {partial f} over {partial b} ` = ` na^m cdot ` b^{n-1} newline newline %sigma_X ` = ` sqrt{ ` left ( ma^{m-1}b^n ` %sigma_a right ) ^2 + ~ left ( ` na^m b^{n-1} ` %sigma_b right ) ^2 } ~ newline newline ~ ~ ~ ` = ` X sqrt{ ` left ( {m %sigma_a} over {alignc a} right ) ^2 + ~ left ( {n %sigma_b} over {alignc b} right ) ^2} ~ rightarrow ~ %sigma_X over X ~ = ~ sqrt{ ` left ( {m %sigma_a} over {alignc a} right ) ^2 + ~ left ( {n %sigma_b} over {alignc b} right ) ^2}
If |m| > |n|, reducing error in a is more effective
to reduce error of the result by (m/n)2.

---
Error propagation
- don't rely on the error propagation formula using fractional errors, unless power is ±1
  - go back to this original one below, otherwise
X = ` f(a,b,dotslow) ~ with errors ~ %delta a, %delta b, dotslow newline newline %delta_X ~ = ~ {sqrt { ` left ( {partial f} over {partial a} ` %delta a right )^2 + `left ( {partial f} over {partial b} ` %delta b right )^2 + ~ dotslow }} newline

---
Relative (percent) error / deviation
- percent deviation is irrelevant in evaluating results.
  - 10 % deviation is OK if the result has ~10% error, but not for 1% error.
- percent error does not tell you how good your measurement is.
  - sigma deviation (deviation/error) is far more relevant thing to consider and discuss.
- percent error is useful to check your error calculation.
  - if the dominant error in your data is 1%, the results should have error > 1% (power = ±1 case).
  - in case result ∝ datam, error should be > |m| % .

---
Summary on error
- Various errors are associated with any measurements
  - add them quadratically to get total error
- Sample shown is a good starting point of error analysis
  - assumption; results is a simple function of uncorrelated measured values
- Keep a critical eye on the results you get, especially on digital values.

---
Using small angle appox.
Using small angle approximation will simplify error analysis and prevent calculation errors.

---
Another sample of error propagation
if X ` = ` f(a,b) ` = ` a times b, ~ then ~ {partial f} over {partial a} ` = ` b ~ , ~ {partial f} over {partial b} ` = ` a newline newline %sigma_X ~ = ~ sqrt{ ` left ( b ` %sigma_a right ) ^2 + ~ left ( ` a ` %sigma_b right ) ^2 } ~ = ~ X sqrt{ ` left ( %sigma_a over a right ) ^2 + ~ left ( %sigma_b over b right ) ^2} newline newline %sigma_X over X ~ = ~ sqrt{ ` left ( %sigma_a over a right ) ^2 + ~ left ( %sigma_b over b right ) ^2}