## Slide 1: strip detector with surrounding guardring Dimension Details
6750um (active edge boundaries)
6500um active width (130strips x 50um)
Entrance window for x-rays
2415um

## Slide 2: Pad layout for strip detector w/surrounding Guard Ring
Backside contact: opening 196um x 46um, both left and right bottom corner
Pad opening: 32umx192um
Guard ring
Pad opening
32umx192um

## Slide 3: Cross section of GR device Active device on support substrate
2415um
Active device
Support substrate
75um
(plasma diced)
300um
(wafer-saw)
2415um
50um-100um?