## Slide 1: First detector and DAQ test results from the TEDA beamline Matt Andrew, Mike Hadmack, Bryce Jacobson, Gary Varner
University of Hawaii
Experience from developing first integrated readout systems
and next development steps
27-APR-2011 ARI Grantees Conference

## Slide 2: Giga-Hertz Detector and Data Acquisition
Simulated x-ray production, transport & detection:
  2 source configurations (bremsstrahlung, Compton backscatter)
  ~1ps timing, intense flux
x-ray beamline and first readout commissioned Sept 2010
Key development directions:
  Detectors
  High speed sampling ASICs
  High throughput readout
  Real time, fast feature extraction
Giga-Hertz, Giga-Samples/s and Giga-bits/s

## Slide 3: Bremsstrahlung x-ray source: UH FEL
Target:
Thin
Cu foil
1 mil
Vacuum
Al Exit
Window
8 mil
10 mil polyethylene
Helium filled transport line
~15”
Air
Plastic cover`
Active Si
Bulk Si
1mm
2.4um
300 um
Carrier
FR-4 (PCB)
62.5 mil
200 um
Charged particle (beam bunch) direct production
Pop-in target (Mike Hadmack poster for details)
3
x-rays

## Slide 4: x-ray beamline Instrumentation: PA/HEP experience
Detectors
ASICs
Front-end
Module
Master
Module
Giga-bit
Fiber links
cPCI crate (control room)
New
card
CPU
X-rays
Master module
4

## Slide 5: Sample result of beam transport simulation
Target:
Thin
Cu foil
1 mil
Vacuum
Al Exit
Window
8 mil
10 mil polyethylene
Helium filled bag/volume
~15”
Air
Plastic cover`
Active Si
Bulk Si
1mm
2.4um
300 um
Carrier
FR-4 (PCB)
62.5 mil
200 um
Ebeam = 40MeV
<I>=200mA
e-
Single ps bunch
BaF2 radiator
10 mil BaF2
Mean energy:
60-70keV
5

## Slide 6
16-channel 2.5GSa/s
TARGET digitizer ASIC

## Slide 7: Initial Runs – “first light”
Production Target Out
Production Target In
AC-coupled: fit to extract pulses
Low background when beam on but Cu foil out
7

## Slide 8: Results from Run 377-500 (Exp 2a)
Foil In
~17.5 70keV x-rays/ps bunch
Energy deposition
(lower bound)
8

## Slide 9: Phase II: tunable, Mono-chromatic x-ray Source
2nd Generation x-ray source (Mike Hadmack poster for details)
9
3rd Generation x-ray source (Eric Szarmes poster for details)

## Slide 10: Evolution of beamline instrumentation
Sensors (detectors)
  Base first iteration on commercially avail parts
  Develop tailored Si sensor devices
Custom Readout chips
  Using existing GSa/s transient digitizers initially
  Develop optimized ASICs for project
High speed DAQ protocol
  Leverage concurrent development for Super B-factory, large cosmic stand readout
Modular system (expandable)
Detectors
ASICs
Front-end
Module
Master
Module
Fiber links
cPCI crate (control room)
XMC
CPU
X-rays
10

## Slide 11: 1ps timing? Detector & Front-end Electronics studies
J-F Genat, G. Varner, F. Tang, H. Frisch
NIM A607 (2009) 387-393.
G. Varner and L. Ruckman
NIM A602 (2009) 438-445.
1GHz analog bandwidth, 5GSa/s
Simulation includes detector response
11

## Slide 12: Fast Detector Options
beam in
200 – 300 µm
active edges
signal electrodes with contact pads to readout
To be tested in Exp 5
Next generation available in Mid-May
12

## Slide 13: STURM2 Prototype (evol. Step) “Max bandwidth/throughput”
Specifications
ASIC under study
2.5GHz (into storage cell)
~20GHz (onto ASIC)
13

## Slide 14: 32k Deep storage ASIC RF input coupling (S11)
Excellent input coupling
14

## Slide 15: Next Generation ASIC
15
10us long “streak camera” (1M points sampling)

## Slide 16
16
Front-end, compact, fast readout

## Slide 17
17
Back-end: high throughput DAQ
4x 3Gbps bi-directional optical fiber links (from front-end)
4x Analog Devices Black-Fin Digital Signal Processing chips
(prompt data reduction)
Standard compact PCI format (expandable)
Dedicated server for real-time data quality display and archiving (RAID array)

## Slide 18: Summary Great progress – first x-rays! Next step: incremental improvement all fronts
Next generation of x-ray detectors (thick Si trench electrodes, CZT)
Improved sampling speed, deeper storage ASICs
Commission multi Giga-byte/s data transfer/archiving
Fast feature extraction/real time data reduction algorithm development
18